## Sheet1
Convey Lighting Voltage Drop Calculator
Instructions: | 1. Enter Type and Tag/Area/Name
2. Enter LED Wattage (Total Connected Load not Watts per Foot)
3. Enter DC Voltage
4. Enter Wire Length in Feet
5. Any Voltage Drop over 3% will show in RED - Not Recommended. Green is Good to use.
6. When done hide any Rows not needed and print
|  | Input Data in these Columns |  |  |  |  | Voltage Drop % (Do not Exceed 3% - Shown in RED) - GREEN Suggested
Type | Tag/Area/Name | LED Wattage | Voltage | Amps | Wire Length (Feet) | Res | #10 VD | #10 %D | Res | #12 VD | #12 %D | Res | #14 VD | #14 %D | Res | #16 VD | #16 %D | Res | #18 VD | #18 %D | Res | #20 VD | #20 %D | Res | #22 VD | #22 %D | Res | #24 VD | #24 %D
A | Example 1 | 96 | 24 | 4 | 10 | 0.9989 | 0.079912 | 0.333% | 1.588 | 0.12704 | 0.5293% | 2.525 | 0.202 | 0.8417% | 4.017 | 0.32136 | 1.339% | 6.385 | 0.5108 | 2.128% | 10.15 | 0.812 | 3.383% | 16.14 | 1.2912 | 5.38% | 25.67 | 2.0536 | 8.557%
B | Example 2 | 48 | 24 | 2 | 20 | 0.9989 | 0.079912 | 0.333% | 1.588 | 0.12704 | 0.5293% | 2.525 | 0.202 | 0.8417% | 4.017 | 0.32136 | 1.339% | 6.385 | 0.5108 | 2.128% | 10.15 | 0.812 | 3.383% | 16.14 | 1.2912 | 5.38% | 25.67 | 2.0536 | 8.557%
C | Example 3 | 80 | 24 | 3.3333 | 30 | 0.9989 | 0.19978 | 0.8324% | 1.588 | 0.3176 | 1.323% | 2.525 | 0.505 | 2.104% | 4.017 | 0.8034 | 3.347% | 6.385 | 1.277 | 5.321% | 10.15 | 2.03 | 8.458% | 16.14 | 3.228 | 13.45% | 25.67 | 5.134 | 21.39%
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! |  | 0.9989 | #DIV/0! | #DIV/0! | 1.588 | #DIV/0! | #DIV/0! | 2.525 | #DIV/0! | #DIV/0! | 4.017 | #DIV/0! | #DIV/0! | 6.385 | #DIV/0! | #DIV/0! | 10.15 | #DIV/0! | #DIV/0! | 16.14 | #DIV/0! | #DIV/0! | 25.67 | #DIV/0! | #DIV/0!